# BASES Laboratory Accreditation Guidelines

Rationale

An accredited laboratory will be awarded the title BASES Accredited Laboratory.  Laboratories may undertake a variety of functions and for a variety of purposes.  The single accredited title will be used in all cases to indicate that a laboratory is operating at a high professional standard as indicated below even though the specialist functions may vary from laboratory to laboratory.

There should be evidence that instruments in the laboratory are reliable, valid and regularly calibrated and serviced, where necessary. Staff should be adequately trained and appropriate consideration towards issues regarding standards of health and safety must be upheld.  Laboratory staff should be able to demonstrate competence in the work routinely carried out in the laboratory (for example, incremental exercise testing).

Laboratory accreditation is based on the appropriateness of facilities, equipment, procedures, staffing and protocols.  Where the laboratory is working with clients in a support function it is necessary that evidence of appropriate feedback to clients be provided.  These will be assessed via an accreditation visit and must attain the required standard.

In summary, to attain accreditation status:

- A laboratory must be under the directorship of a suitably accredited scientist.

- Facilities must be of the required standard for the activity undertaken.

- Equipment must be used with due appreciation for calibration, validity, reliability and sensitivity.

- Exercise testing and related measurements must be conducted in accordance with appropriate protocols and adhere to safety considerations.

- Data collected must have demonstrated reliability, repeatability and validity (where appropriate). The laboratory should undertake regular and frequent assessments to ensure these measures remain demonstrable and within tolerable ranges.

- In the case of scientific support services, feedback provided to clients must be informative and in a format that is useful to the client.

- The health, safety and well-being of clients, participants and all laboratory users must be paramount throughout their time in the laboratory.

A well equipped, but badly run, laboratory does not merit accreditation, nor does a laboratory that cannot demonstrate appropriate quality of its work via its activities.

Demonstration of a laboratory’s merit and worth of accreditation are judged by the contents of its written submission and the results of the inspection visit; during which the practical demonstration of its testing procedures (usually involving the inspecting member of the accreditation committee as a participant) and the feedback provided are assessed.

Changes in Laboratory Directorship

The following policy should be applied if a laboratory wishes to change its director:

- If a laboratory loses its Director, but a BASES accredited member from that institution is in position to assume the role, the proposed new Director must apply formally (using the Laboratory Director Accreditation application form) to BASES and during this time the laboratory will retain its accredited status. To maintain its accredited status beyond this time the Director must fulfil the section criteria for Laboratory Directorship. If the new director has not previously been a BASES Accredited Laboratory Director a new accreditation visit will be required.

- If a laboratory loses its Director and no accredited member is in a position to assume the role, the laboratory can no longer retain accredited status. To regain its accredited status a new BASES Accredited Director must be appointed.

  - If the new Director has not been a BASES Accredited Laboratory Director, they must apply formally to BASES and fulfil the criteria for laboratory directorship. The laboratory must also re-apply for accreditation, which will include an accreditation visit.

  - If the new Director has been a BASES Accredited Laboratory Director the laboratory must apply formally to the BASES office for re-accreditation (including all required documentation). Provided that the formal application for the change of Director takes place within six months of the previous director vacating the position, no re-accreditation visit is required. If the formal application for a new Director occurs more than six months after the previous Director vacated the position, an accreditation visit will be required.

- If a laboratory wishes to change its Directorship, the proposed new Director must apply formally to BASES and fulfil all the section criteria for personal accreditation and BASES Accredited laboratory Directorship. An accreditation visit will be required if the new Director has not previously been a BASES accredited director.

- A change in directorship does not extend the accreditation period of the laboratory. This remains five years from the date of its last successful accreditation visit.

Accreditation of the Laboratory
Application for laboratory accreditation is via the BASES office. The relevant documentation must be submitted, including a brief summary of the equipment used in the laboratory and a letter from the institution supporting the Director and confirming that they have full access to the laboratory. To retain its accredited status a laboratory must have a re-accreditation visit every five years, regardless of whether there has been a change in directorship.

Recommendations about accreditation are made by the accreditation committee following the inspection visit. These are forwarded to the BASES Board who will either accept or reject these recommendations. The BASES office must be notified of any changes in status of the laboratory, including a potential change of directorship. Notification of changes does not automatically ensure continued accredited status and a formal application for continued accreditation must be made with a letter explaining the laboratory’s individual circumstances. The implications of a change of status and/or change of Director are detailed in these guidelines.

In some cases the inspecting member of the accreditation committee may make recommendations to the laboratory before accreditation can be recommended to the BASES Executive.  In such cases the laboratory should fulfil these recommendations within a period of six weeks.  In exceptional circumstances this might be extended at the discretion of the Chair of the Laboratory Accreditation Committee and the visiting Laboratory Accreditation Committee member.

Specialist Laboratories

It is acknowledged that many laboratories conduct bespoke roles in a variety of support, applied and research activities.  In cases such as these, applications from the Laboratory Director should include a summary of instruments and the nature of the work conducted within the laboratory. However, there should, as an absolute minimum, be provision to examine respiratory gas exchange, exercise metabolite analysis (blood lactate), heart rhythm detection, assessment of body composition and a method to examine maximal intensity exercise (such as anaerobic capacity). In addition, if the traditional exercise challenge is not possible (due to the use of specialist equipment) the laboratory may be asked to demonstrate an exercise test that is routinely carried out.  The visiting member of the accreditation committee will establish the nature of this test before the visit.

Specialist Life Support Equipment

It is now mandatory that all laboratories applying for BASES Laboratory Accreditation or Re-Accreditation have a defibrillator as a compulsory item of equipment and that staff are trained in its use.  All accredited staff and supervisees should have immediate life support training (ILS) training, incorporating the competent use of a defibrillator, which should be renewed at regular periods (usually 12 months).

Accreditation of a Laboratory Director

A Laboratory Director must have individual accreditation by BASES. They must also submit a supporting letter from their institution (Head of Department, line manager or similar) stating that they have full access to the laboratory. A laboratory director is not confirmed as a BASES Accredited Laboratory Director until they have successfully undergone an inspection visit to the laboratory. Once recognised as a BASES Accredited Laboratory Director their directorship is subject to renewal with that of the laboratory for which they are the Director. This is separate to their BASES individual accreditation; however their accreditation as a BASES accredited scientist must be current for them to retain their BASES accredited laboratory directorship.

## Overseas Laboratories

Overseas laboratories may apply for laboratory accreditation and this will be acknowledged as such with the title BASES Accredited Laboratory (Overseas).  Where a BASES accredited individual is not present, the laboratory must be under the direction of an appropriately qualified individual (such as a laboratory manager, or equally well qualified practitioner).  In such circumstances the laboratory may still be granted accreditation, but BASES Accredited Laboratory Director status can not be granted.  Overseas (including the Irish Republic) laboratories applying for accredited status must also agree to meet the costs for all international travel, reasonable subsistence and accommodation where necessary in addition to the standard accreditation fee.

Laboratory Accreditation Summary Guidelines

The accreditation of a laboratory is the highest award BASES can make to a laboratory. It is recognition by BASES that the facility operates at the highest standards in terms of equipment, procedures and staff. The decision whether or not to award accredited status to a laboratory is, to a large extent, based on the documentation contained application within the application and the visit by a member of the Accreditation Committee.

Laboratories applying for accreditation should do so only if they are confident of a successful outcome, as considerable time and professional expertise goes into the consideration of an application.  There is an option for a pre-accreditation visit, which is encouraged for those laboratories unsure if they meet the required standard.  This will provide the laboratory with the information they require to meet the necessary standard, but does not guarantee a successful application.  A pre-accreditation visit by a member of the Accreditation Committee is strongly recommended for laboratories seeking first time accreditation. A fee of £350 will be charged for this service.

Please note that accreditation is given for equipment and procedures that are in use and functioning correctly.  Accreditation cannot be given for “equipment on order” or if the equipment is not working. In such cases it is advised that the accreditation visit is delayed until the laboratory is fully ready.

Prior to any visit by a member of the Accreditation Committee, laboratories are strongly advised to accustom themselves fully with the procedures involved with the visit and, in particular, the nature of the measurements that will be taken. A “trial run” by members of laboratory staff is recommended and the calibration of all equipment should be vigorously checked.

If these pre-visit procedures are adhered to, the visit by the accreditor should be both smooth and successful. In summary, laboratories that wish to be accredited should be able to demonstrate the following:

- A BASES Accredited Laboratory Director

- Letter of support from a line manager (where necessary)

- Overview of the laboratory support and/or research activities

- Adequate qualifications and training of all laboratory users

- An adequate laboratory environment for the activities undertaken by the laboratory (outlined in Section 2 of the Laboratory Accreditation Survey)

- Adequate health and safety precautions such as risk assessment, COSHH adherence (where necessary), informed consent and so on (outlined in Section 2 of the Laboratory Accreditation Survey)

- Adequate equipment to carry out the tasks the lab wishes to be accredited for (outlined in Section 3 of the Laboratory Accreditation Survey)

- Evidence of regular calibration, service and maintenance of laboratory instruments (outlined in Section 3 of the Laboratory Accreditation Survey)

- Evidence of validity and reliability of laboratory instruments (outlined in Section 3)

- Operational effectiveness and economy (outlined in Section 4 of the Laboratory Accreditation Survey).  This may take the form of:

  - the accreditor exercising and making comparisons with an accredited facility

  - demonstrating the exercise task with a locally recruited volunteer

  - demonstrating a different exercise task to that highlighted in Section 4 of the Laboratory Accreditation Survey (dependent upon the equipment held within the laboratory)

- Competent analysis and interpretation of the collected data and presentation to the accreditor and/or exerciser (as necessary)

NB:  Point 10c strictly relates to laboratories that do not routinely use treadmill and/or cycle ergometry in the assessment of their client/research groups.  In addition, where the task (highlighted in Section 4 of the Laboratory Accreditation Survey) is not possible, the exact nature of the exercise task will be discussed between the applicant and the accreditor prior to the visit.

In summary, a successful laboratory accreditation is largely dependent on two factors, the initial application and demonstrable elements during the laboratory visit.  A summary of the key elements is presented in the table below.  The letters A and V refer to the application and visit, respectively and indicate where the relevant points can be demonstrated.  Please read this carefully and ensure you have fulfilled all of the points highlighted below.

A BASES Accredited Laboratory Director - A

Letter of support from a line manager or department head (where necessary) – A

Overview of the laboratory support and/or research activities – A

Appropriately qualified and trained laboratory users - A

An adequate overview of the laboratory environment for the activities undertaken by the laboratory (outlined in Section 2 of the Laboratory Accreditation Survey) – A,V

Appropriate health and safety precautions such as risk assessment, COSHH adherence (where necessary), health screening questionnaire, informed consent and so on (outlined in Section 2 of the Laboratory Accreditation Survey) – A,V

Appropriate equipment to carry out the tasks the laboratory wishes to be accredited for (outlined in Section 3 of the Laboratory Accreditation Survey) – A,V

Evidence of regular calibration, service and maintenance of laboratory instruments (outlined in Section 3 of the Laboratory Accreditation Survey) – A,V

Evidence of validity and reliability of laboratory instruments (outlined in Section 3) – A,V

Operational effectiveness and economy (outlined in Section 4 of the Laboratory Accreditation Survey) – V. This may take the form of: an accreditor exercising and making comparisons with an accredited facility demonstrating the exercise task with a locally recruited volunteer demonstrating a different exercise task to that highlighted in Section 4 of the Laboratory Accreditation Survey (dependent upon the equipment held within the laboratory)

Competent analysis and interpretation of the collected data and presentation to the accreditor and/or exerciser (as necessary) - V

Finally, an indicative example of the supporting information can be found on the BASES webpages (http://www.bases.org.uk/Laboratory-Accreditation). In addition to this, applicant laboratories are advised to submit, in support of the application, the information detailed in the above table, namely: a letter of support form the departmental head; reliability and validity data of treadmills, ergometers, gas analysis and lactate analysis, skin folds (plus other instruments that the Laboratory Director would like included in the survey); examples of athlete reports; examples of professional and vocational certification (for example; BASES accreditation, first aid certificates, ILS, phlebotomy, ISAK).

If there are further enquires about the accreditation process, these should be directed to the Convenor of the Laboratory Accreditation and/or Laboratory Directors’ Group via the BASES office.